## Summary
Bill No | Summary | Page No | Amount
1 | Preliminaries |  | 0
2 | Alterations |  | 0
3 | Masonry |  | 0
4 | Carpentry and Joinery |  | 0
5 | Ceilings, Partitions and Access Flooring |  | 0
6 | Floor Coverings, Wall Linings |  | 0
7 | Ironmongery |  | 0
8 | Metalwork |  | 0
9 | Plastering |  | 0
10 | Tiling |  | 0
11 | Plumbing and Drainage |  | 0
12 | Glazing |  | 0
13 | Paintwork |  | 0
14 | Provisional Sums |  | 20925000
| Sub-total |  | 20925000
| Add: Value Added Tax at 15% |  | 3138750
| Total of the Prices |  | 24063750

## Preliminaries
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 1
PRELIMINARIES
1/1 | Fixed preliminaries | Sum | 1 |  | 0
1/2 | Monthly preliminaries | Month | 1 |  | 0
1/3 | Enclosure of the site | Sum | 1 |  | 0
1/4 | Temporary barricades | Sum | 1 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 1: Collection
Preliminaries
| Page 7 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Alterations
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 2
ALTERATIONS
REMOVAL OF EXISTING WORK
Breaking down and removing brickwork etc
2/1 | One brick walls | m2 | 110 |  | 0
Taking out and removing doors, windows, etc, including thresholds, sills, etc (building up openings and making good finishes elsewhere)
2/2 | Timber single door and frame not exceeding 2,5m² | No | 3 |  | 0
2/3 | Timber single door and frame not exceeding 2,5m² | No | 5 |  | 0
Taking down and removing roofs, floors, panelling, ceilings, partitions, etc.
2/4 | Suspended ceilings, including support structure, cornices, etc | m2 | 3034 |  | 0
2/5 | Drywall partitions including doors, glazed borrowed lights, etc. | m2 | 342 |  | 0
2/6 | Aluminium partitions including doors, glazed borrowed lights, etc. | m2 | 627 |  | 0
2/7 | Blinds, 1.3 x 1.7m high | No | 66 |  | 0
Taking out and removing sundry joinery work, fittings, etc
2/8 | Timber skirtings | m | 475 |  | 0
2/9 | Timber pedestals supporting and including back to back study cubicles 3.68 x 0.70 x 0.30m high | No | 20 |  | 0
2/10 | Ditto but single units fixed along walls without pedestal | No | 12 |  | 0
2/11 | Main reception desk and adjoining display unit, all inclusive | No | 1 |  | 0
Taking up and removing wood block floor coverings, vinyl floor coverings, carpets, etc and preparing screeds for new floor coverings
2/12 | Carpet tile floor covering | m2 | 3214 |  | 0
Hacking up/off and removing granolithic, screeds, plaster, etc from concrete or brickwork and preparing surfaces for new screed, plaster, tile finishes, etc
2/13 | 30mm Screed from floors | m2 | 3214 |  | 0
2/14 | Internal plaster from walls and columns | m2 | 94 |  | 0
| Carried to Collection |  |  |  | 0
REMOVAL OF ASBESTOS
Taking down and removing roofs, floors, panelling, ceilings, partitions, etc.
2/15 | Panels below external windows, 1.3 x 1m high including the metal support and bracing structure disposal at an approved dumping facility | No | 66 |  | 0
BUILDING UP OPENINGS
Brickwork in NFP bricks in class II mortar in building up openings
2/16 | One brick walls | m2 | 2 |  | 0
Sundries
2/17 | Cutting toothings and bonding new brickwork to existing | m2 | 2 |  | 0
PREPARATORY WORK TO EXISTING SURFACES
2/18 | Clean with "Stoneshield" and making good defects with "Sika Monotop 3020" in existing concrete ceiling | m2 | 227 |  | 0
2/19 | Hacking faces of existing concrete columns, beams, etc to receive plaster | m2 | 94 |  | 0
REMOVE, SET ASIDE, MAKE GOOD AND REINSTALL IN NEW POSITION
2/20 | Shopfront 5 370 x 2 375 mm high overall (S02). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
2/21 | Shopfront 5 370 x 3 187 mm high overall (S03). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
MAKING GOOD OF FINISHES, ETC
Making good face brickwork
2/22 | Ends of one brick walls | m | 20 |  | 0
Making good internal cement plaster
2/23 | Walls where one brick walls removed | m2 | 3 |  | 0
Making good internal cement plaster
2/24 | Walls in patches | m2 | 14 |  | 0
| Carried to Collection |  |  |  | 0
OPENINGS THROUGH EXISTING WALLS ETC
Breaking out for and forming openings through brick walls for new doors and frames, including prestressed concrete lintels, making good cement plaster on both sides and into reveals and with 20 MPa concrete thresholds with steel trowelled finish (new doors and frames and making good paintwork elsewhere)
2/25 | Opening for door with steel frame 813 x 2032m high overall through one brick wall | No | 4 |  | 0
2/26 | Opening for door with steel frame 1400 x 2032m high overall through one brick wall | No | 4 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 2: Collection
Alterations
| Page 9 |  |  |  | 0
| Page 10 |  |  |  | 0
| Page 11 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Masonry
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 3
MASONRY
NOTE: Tenderers are required to study the Model Preambles for Trades before pricing the bills of quantities.
-------------------------------
Unless otherwise required by the:-
(1) specified Model Preambles for Trades, or
(2) what is contained elsewhere in the works Specification, or
(3) what is contained elsewhere on works drawings, or
(4) what is described elsewhere in these bills of quantities.
Masonry walling, and its associated materials, methods of construction, construction details, permissible deviations and everything else that can be reasonably claimed to be part of the specification of "Masonry walling", as described therein, shall comply with SANS 2001-CM1:2007 Edition 1 "Masonry Walling".
----------------------------------
SUPERSTRUCTURE
Brickwork of NFP clay bricks in Class II mortar
3/1 | Half-brick thick walls. | m² | 44 |  | 0
3/2 | One-brick thick walls. | m² | 46 |  | 0
3/3 | 300mm Solid walls. | m² | 23 |  | 0
| Carried to Collection |  |  |  | 0
BRICKWORK SUNDRIES
Joint forming material in movement joints
3/4 | 10mm Fibre board built in vertically between brick skins. | m² | 3 |  | 0
3/5 | 12mm Bitumen impregnated fibre board built in vertically through brick walls. | m² | 2 |  | 0
Welded steel reinforcement in brickwork
3/6 | 75mm Wide reinforcement built in horizontally. | m | 172 |  | 0
3/7 | 150mm Wide reinforcement built in horizontally. | m | 179 |  | 0
3/8 | 230mm Wide reinforcement built in horizontally. | m | 90 |  | 0
Galvanised hoop iron cramps, ties, etc.
3/9 | 30 x 1.6mm Wall tie 500mm long with one end shot pinned to concrete and other end built into brickwork. | No | 24 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 3: Collection
Masonry
| Page 13 |  |  |  | 0
| Page 14 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Carpentry and Joinery
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 4
CARPENTRY AND JOINERY
DOORS HUNG TO STEEL FRAMES
40mm Thick semi-solid flush doors with wrot hardwood vertical edges and 3.2mm thick pressed hardboard both sides, hung to steel frames
4/1 | 910 x 2 110mm High door (D11).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 1 |  | 0
4/2 | 910 x 2 110mm High door (D04).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 4 |  | 0
4/3 | 1 010 x 2 110mm High door (D07).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 2 |  | 0
4/4 | 810 x 2 110mm High door (D06).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 4 |  | 0
4/5 | 1 810 x 2 110mm High double door in equal leaves (D10). (Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 3 |  | 0
FIRE RATED DOORS AND FRAMES
"Bitcon Rubidor" fire doors, complying with the requirements of the national test standard, comprising magnesium oxychloride monolithic reinforced insulative material cores with hardboard veneer both sides
4/6 | Class B fire door size overall 1 510 x 2 110mm high, including pressed steel frame for 220mm thick wall and preparing frame for door closer and lock (D08). (Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 8 |  | 0
4/7 | Class B fire door size overall 1 010 x 2 110mm high, including pressed steel frame for 220mm thick wall and preparing frame for door closer and lock (D09). (Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 2 |  | 0
INTERNAL SKIRTINGS
Wrot meranti
4/8 | 22 x 150mm Skirting (SK03). | m | 1177 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 4: Collection
Carpentry & Joinery
| Page 16 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Ceilings, Partitions and Access
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 5
CEILINGS, PARTITIONS AND ACCESS FLOORING
SUSPENDED CEILINGS
12.5mm Thick "Gyproc" gypsum plasterboard with feathered joints for, and including, 63mm wide mesh scrim over the joints and the whole ceiling finished with gypsum skim plaster trowelled to a smooth polished surface, including "Gypframe Ultrasteel" main and cross tees, rod-hangers, clips, etc. (CE01)
5/1 | Ceilings suspended exceeding 1m and not exceeding 2m below concrete soffits. | m2 | 478 |  | 0
5/2 | Ceilings suspended exceeding 2m and not exceeding 3m below concrete soffits. | m2 | 0 |  | 0
5/3 | Shaped bulkhead (oval), with a perimeter of 28m on plan and a vertical side 606mm high below adjacent ceiling, suspended exceeding 1m and not exceeding 2m below concrete soffits. (In 2No - refer drawing LPA_2408-TEND-1400 Rev 8) | m2 | 113 |  | 0
5/4 | Extra over ceiling for opening for 200mm diameter downlighter. | No | 63 |  | 0
Pre-painted 600 x 1 200 x 15mm "OWAcoustic Sinfonia" acoustic panels on "Gypframe Ultrasteel" pre-painted exposed tee suspension system, including main and cross tees, hangers, clips, etc. (CE02)
5/5 | Ceilings suspended exceeding 1m and not exceeding 2m below concrete soffits. | m2 | 458 |  | 0
5/6 | Ceilings suspended exceeding 2m and not exceeding 3m below concrete soffits. | m2 | 0 |  | 0
5/7 | Extra over ceiling for opening for 200m diameter downlighter. | No | 0 |  | 0
5/8 | Extra over ceiling for opening for 600 x 1200mm light fitting. | No | 96 |  | 0
Pre-painted 1 200 x 2 400 x 12.5mm "Gyptone BIG Line 6" acoustic panels on "Gypframe Ultrasteel" pre-painted exposed tee suspension system, including main and cross tees, hangers, clips, etc. (CE04)
5/9 | Ceilings suspended exceeding 1m and not exceeding 2m below concrete soffits. | m2 | 1497 |  | 0
| Carried to Collection |  |  |  | 0
5/10 | Ceilings suspended exceeding 2m and not exceeding 3m below concrete soffits. | m2 | 0 |  | 0
5/11 | Horizontal soffit and one vertical side of horizontal bulkhead, size 700mm wide x 300mm high (curved on plan) | m | 22 |  | 0
5/12 | Extra over ceiling for opening for 200m diameter downlighter. | No | 77 |  | 0
5/13 | Extra over ceiling for opening for 600 x 1200mm light fitting. | No | 0 |  | 0
Pre-painted 600 x 1 200 x 12mm "Mandi" acoustic panels on "OWAconstruct S15" pre-painted exposed tee suspension system, including main and cross tees, hangers, clips, etc. (CE05)
5/14 | Ceilings suspended exceeding 1m and not exceeding 2m below concrete soffits. | m2 | 156 |  | 0
5/15 | Ceilings suspended exceeding 2m and not exceeding 3m below concrete soffits. | m2 | 0 |  | 0
5/16 | Extra over ceiling for opening for 200m diameter downlighter. | No | 0 |  | 0
5/17 | Extra over ceiling for opening for 600 x 1200mm light fitting. | No | 28 |  | 0
Pre-painted 1 200 x 1 200 x 40mm "M9 PET" acoustic panels on "OWAconstruct S15" pre-painted exposed tee suspension system, including main and cross tees, hangers, clips, etc. (CE06)
5/18 | Ceilings suspended exceeding 1m and not exceeding 2m below concrete soffits. | m2 | 21 |  | 0
5/19 | Ceilings suspended exceeding 2m and not exceeding 3m below concrete soffits. | m2 | 0 |  | 0
5/20 | Extra over ceiling for opening for 200m diameter downlighter. | No | 6 |  | 0
5/21 | Extra over ceiling for opening for 600 x 1200mm light fitting. | No | 0 |  | 0
"Donn" cornices, perimeter trims, etc to suspended ceilings
5/22 | 22mm Pre-painted plaster trim, plugged | m | 1531 |  | 0
| Carried to Collection |  |  |  | 0
CEILING INSULATION
50mm Thick "GeoWool" acoustic insulation (installed in a double layer and rate is for a double layer measured on plan)
5/23 | Laid on ceilings suspended not exceeding 1m below concrete soffits. | m² | 156 |  | 0
102mm Thick "Cavitybatt" insulation
5/24 | Fixed to the concrete soffits. | m² | 1497 |  | 0
PARTITIONS, ETC.
Infill panel under existing windows fixed to existing steel support structure including 50mm GeoWool insulation, cover strip to join flush to surrounding panels/walls
5/25 | Panel 1.3 x 1m high. | No | 66 |  | 0
Rhino-Drywall System No. 1 steel stud partitioning with "Rhino Wallboard" on both sides
Acoustic partitions, Type AW1, insulated with double layer 50mm GeoWool acoustic insulation including steel studding and skim plaster on both faces
5/26 | Partitioning 4.95m high overall with bottom-track plugged to top of reinforced concrete floor, top-track plugged to soffit of reinforced concrete slab. | m | 57 |  | 0
Extra over partition 4.95m high for
5/27 | Corner. | No | 2 |  | 0
5/28 | T-intersection. | No | 4 |  | 0
5/29 | Fair end. | No | 9 |  | 0
Extra over partitions for 40mm thick semi-solid flush laminated doors with "Commercial" veneer on both sides and hardwood edge strips to vertical edges, hung to, and including, aluminium mitred, framed, rebated door frames, with three 100mm satin chrome hinges per leaf, including fixing only of lock set and handles, keep and additional studding, trimming, etc.
5/30 | 1 010 x 2 110mm High door (D02).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 2 |  | 0
5/31 | 1 010 x 2 110mm High door (D07).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 1 |  | 0
Double acoustic partitions, Type AW2, insulated with double layer 50mm GeoWool acoustic insulation including steel studding and skim plaster on both faces
| Carried to Collection |  |  |  | 0
5/32 | Partitioning 4.95m high overall with bottom-track plugged to top of reinforced concrete floor, top-track plugged to soffit of reinforced concrete slab. | m | 12 |  | 0
Extra over partition 4.95m high for
5/33 | Corner. | No | 1 |  | 0
5/34 | T-intersection. | No | 0 |  | 0
5/35 | Fair end. | No | 2 |  | 0
Extra over partitions for acoustic aluminium casement windows with double pane glass, angles upwards, with argon gas cavity fill to manufacturer's specification, complete
5/36 | Window 1 810 x 1 210 mm high (W03-74). (Drawing No. LPA_2408-TEND-SCHED-100 R8) | No | 1 |  | 0
Double acoustic partitions Type AW3 insulated with double layer 50mm GeoWool acoustic insulation including steel studdding and skim plaster on both faces
5/37 | Partitioning 4.95m high overall with bottom-track plugged to top of reinforced concrete floor, top-track plugged to soffit of reinforced concrete slab. | m | 5 |  | 0
Extra over partition 4.95m high for
5/38 | Corner. | No | 0 |  | 0
5/39 | T-intersection. | No | 1 |  | 0
5/40 | Fair end. | No | 1 |  | 0
Extra over partitions for acoustic aluminium casement windows with double pane glass, angles upwards, with argon gas cavity fill to manufacturer's specification, complete
5/41 | Window 1 810 x 1 210 mm high (W03-75). (Drawing No. LPA_2408-TEND-SCHED-100 R8) | No | 1 |  | 0
Partitions, Type P01, including steel studding and skim plaster on both faces
5/42 | Partitioning 4.95m high overall with bottom-track plugged to top of reinforced concrete floor, top-track plugged to soffit of reinforced concrete slab. | m | 273 |  | 0
5/43 | Partitioning 4.95m high overall, curved on plan, with bottom-track plugged to top of reinforced concrete floor, top-track plugged to | m | 14 |  | 0
| Carried to Collection |  |  |  | 0
5/44 | Partitioning 2.5m high overall, curved on plan, with bottom-track plugged to top of reinforced concrete floor, top-track ?plugged to soffit of reinforced concrete slab?soffit of reinforced concrete slab. | m | 6 |  | 0
5/45 | Extended plasterboard reveal, 200mm deep around window (W01). | No | 7 |  | 0
Extra over partition 4.95m high for
5/46 | Corner. | No | 14 |  | 0
5/47 | T-intersection. | No | 8 |  | 0
5/48 | Fair end. | No | 81 |  | 0
Extra over partition 2.5m high for
5/49 | Corner. | No | 0 |  | 0
5/50 | T-intersection. | No | 8 |  | 0
5/51 | Fair end. | No | 2 |  | 0
Extra over partitions for 40mm thick semi-solid flush laminated doors with "Commercial" veneer on both sides and hardwood edge strips to vertical edges, hung to, and including, aluminium mitred, framed, rebated door frames, with three 100mm satin chrome hinges per leaf, including fixing only of lock set, handles, keep and additional studding, trimming, etc.
5/52 | 1 010 x 2 110mm High door (D02).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 1 |  | 0
5/53 | 910 x 2 110mm High door (D04).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 1 |  | 0
5/54 | 1 010 x 2 110mm High door (D07).(Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 17 |  | 0
Extra over partitions for powder coated aluminium windows glazed with 6mm clear float glass complete
5/55 | Window 750 x 1 925mm high (W01). (Drawing No. LPA_2408-TEND-SCHED-100 R8) | No | 7 |  | 0
5/56 | Window 1 205 x 2 000mm high (W04). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 3 |  | 0
Extra over partitions for anodised aluminium shopfront glazed with 6mm clear float glass complete
5/57 | Shopfront 5 990 x 2 375mm high overall (S01). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
| Carried to Collection |  |  |  | 0
5/58 | Shopfront 3 616 x 2 375mm high overall (S04). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
5/59 | Shopfront 4 950 x 2 375mm high overall (S05). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
5/60 | Shopfront 3 720 x 2 260mm high overall (S06). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
5/61 | Shopfront 2 520 x 2 260mm high overall (S08). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
5/62 | Shopfront 3 480 x 2 260mm high overall (S09). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
Extra over partitions for anodised aluminium shopfront with fixed panes and door glazed with 6mm clear float glass complete
5/63 | Shopfront 3 900 x 2 375mm high overall (S07 and D05/45). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
Extra over partitions for glazed anodised aluminium doors hung to, and including, aluminium frame, with double glazed sound insulation glass, three 100mm hinges per leaf, including fixing only of lock set, handles, keep and additional studding, trimming, etc.
5/64 | Double door 1 510 x 2 110mm high in two leaves (D01). (Drawing No. LPA_2408-TEND-SCHED-200 R8) | No | 1 |  | 0
5/65 | Double door 1 500 x 2 200mm high in two leaves (D03). (Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 5 |  | 0
5/66 | Double door 910 x 2 110mm high (D05). (Drawing No. LPA_2408-TEND-SCHED-200 R8). | No | 1 |  | 0
SLIDING, FOLDING, ACOUSTIC PARTITIONS
The cost-rate for sliding, folding, acoustic partitions is hereby deemed to include for all fixing in position and protection of such work. All costs that might arise from the contractor's failure to comply with this requirement shall be for the contractor's account.
The design requirement is that each sliding, folding, acoustic partition is built directly into its opening formed in masonry, or concrete, or steelwork, without benefit of "subframes", or "grounds". It is hereby deemed that the contractor has included for the cost of such necessary sub-frames, grounds, cover-beading, etc., in his cost for this work.
SUPPLEMENTARY PREAMBLES:
Specification for this work:
| Carried to Collection |  |  |  | 0
The system shall be Aluglass Bautech VX80, or other equal and approved, partitions, comprising panels with an acoustic specification of 40dB / 44dB / 47dB according to DIN52210 (not ASTM E 413-73) and track.
The panels shall be faced on both sides with 16mm thick triple-layer quality chipcore-board to DIN/SABS specification, hung with low rigidity with minimal body sound transmission.
Both faces of each panel shall have a surface finish comprising .....mm thick hardwood veneer / carpet / Renolit / vinyl / fabric, etc.
Each panel shall have one / two point suspension with ball-bearings / thrust-rollers to match the track system.
Adjoining panels shall be vertically tongue-and-groove sealed. Positive locking connections of individual sections shall be by means of aluminium extrusions with lip-seals and shall have magnetic strips providing a sealing pressure of approximately 50 N/m
Each panel shall be horizontally sealed with spring-loaded retractable double seals pressed against the floor and ceiling-track by means of an internal spindle jacking gear. Pressure of the sealing strip shall be approximately 800N/m.
There is to be a telescopic compensating element with integral telescopic and sealing action.
SLIDING, FOLDING, ACOUSTIC PARTITIONS
5/67 | 6 020mm x 2 600mm High sliding folding partition with top-rail plugged to drywall partition; the partition shall comprise seven equal width panels (Conference/Seminar Room 2 - FSD01). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 1 |  | 0
5/68 | 4 690mm x 2 600mm High sliding folding partition with top-rail plugged to drywall partition; the partition shall comprise five panels (four equal width panels) (FSD02). (Drawing No. LPA_2408-TEND-SCHED-100 R8). | No | 2 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 5: Collection
Ceilings, Partitions & Access Flooring
| Page 18 |  |  |  | 0
| Page 19 |  |  |  | 0
| Page 20 |  |  |  | 0
| Page 21 |  |  |  | 0
| Page 22 |  |  |  | 0
| Page 23 |  |  |  | 0
| Page 24 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Floor Coverings, Wall Linings
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 6
FLOOR COVERINGS, WALL LININGS, ETC.
FLOOR COVERINGS
500 x 500 x 2.5 mm "Belgotex Aggregate" heavy commercial dry back stick down LVT vinyl tile with 0.55mm wear under layer according to ISO24340 (FF01)
6/1 | On floors. | m² | 702 |  | 0
178 x 1 219 x 5 mm "Belgotex Elite 55" heavy commercial high-performance LVT acoutic vinyl flooring with 0.55mm wear under layer according to ISO24340 (FF02)
6/2 | On floors. | m² | 182 |  | 0
500 x 500 x 5.5 mm "Belgotex Accelerate" heavy duty commercial tuffed multi-scroll loop pile carpet tiles with Nexbac acoustic backing (FF04)
6/3 | On floors. | m² | 2052 |  | 0
Matco mats
6/4 | 12mm Thick DM Aluminium, 1 500 x 4 600mm wide, code DMA0190003 aluminium channels with polypropylene inserts matting with a mass of 12kg/m2 on floors, in, and including, a mild steel recessed matwell. | No | 1 |  | 0
"Best Deck" "Golden Range", 5 800 x 135mm installed to manufacturer's specifications
6/5 | On floors in oval shape. | m² | 40 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 6: Collection
Floor Coverings, Wall Linings
| Page 26 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Ironmongery
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 7
IRONMONGERY
LABOUR ONLY FOR FIXING IRONMONGERY
NOTE: Fixing of locks and handles to doors in drywall partitioning, is included in the supply and installation rate for the door.
Fixing of ironmongery to wooden doors
7/1 | Mortice lockset | No | 11 |  | 0
7/2 | Rebated mortice deadlock | No | 3 |  | 0
7/3 | Door closer | No | 10 |  | 0
Fixing of ironmongery to brickwork or concrete
7/4 | Door stop | No | 45 |  | 0
LAMINATE AND MELAMINE LOCKERS
Purpose-made lockers from Melawood Dunblane complete w
7/5 | Combination of 4 No lockers stacked on top of each other, each unit 450mm wide x 300mm high per unit, and overall height of 1900mm including 100mm high kickplate, with lockable door side-hung, handle, locking mechanism, and square number fixed to door, fixed to wall. | No | 17 |  | 0
BATHROOM FITTINGS
Chairman Industries
7/6 | 32mm Side grab rail (DL2). | No | 2 |  | 0
7/7 | 32mm Back grab rail (SL2). | No | 2 |  | 0
INTERNAL WINDOW BLINDS
Blackout roller blinds, "Elemental", mounted to under the lintol of, and within, the window/door openings with steel chain roller crank handle mechanism (Nimbus fabric variety) (BL01).
7/8 | Window size overall 1500mm wide x 1500mm high. | No | 21 |  | 0
ACOUSTIC WALL PANELS
7/9 | "Mandi" acoustic fabric stretch system walls, NCR 1.0, including 25mm thick fabric tensioning system | m2 | 70 |  | 0
| Carried to Collection |  |  |  | 0
SUNDRIES
ACOUSTIC REQUIREMENTS
7/10 | Acoustic base traps, door size 450 x 1 800mm | No | 4 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 7: Collection
Ironmongery
| Page 28 |  |  |  | 0
| Page 29 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Metalwork
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 8
METALWORK
PRESSED STEEL DOOR FRAMES
1.2mm Rebated frames suitable for half brick walls
8/1 | Frame for door size overall 810 x 2 110mm high. | No | 4 |  | 0
8/2 | Frame for door size overall 1 010 x 2 110mm high. | No | 2 |  | 0
1.6mm Rebated frames suitable for one-brick walls
8/3 | Frame for door size overall 910 x 2 110mm high. | No | 4 |  | 0
ALUMINIUM WINDOWS, DOORS, ETC.
Natural anodised aluminium doors, sidelights, fanlights, glazed with, and including, 6.5mm thick clear double laminated safety glass, and mitred, framed, frames plugged to brickwork, or concrete, with electrolytic-action proof insulation
8/4 | Screen wall | m2 | 14 |  | 0
Natural anodised aluminium doors, sidelights, fanlights, glazed with, and including, 6.5mm thick clear laminated safety glass, and mitred, framed, frames plugged to brickwork, or concrete, with electrolytic-action proof insulation
8/5 | Screen wall including doors | m2 | 101 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 8: Collection
Metalwork
| Page 31 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Plastering
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 9
PLASTERING
SCREEDS
Screeds wood-floated on concrete
9/1 | 30mm Thick on floors and landings. | m² | 3214 |  | 0
INTERNAL PLASTER
Cement plaster on brickwork/concrete
9/2 | On walls. | m² | 231 |  | 0
9/3 | On narrow widths. | m² | 25 |  | 0
Gypsum skim plaster on brickwork/concrete
9/4 | On walls. | m² | 0 |  | Rate Only
9/5 | On narrow widths. | m² | 0 |  | Rate Only
| Carried to Collection |  |  |  | 0
Bill No. 9: Collection
Plastering
| Page 33 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Tiling
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 10
TILING
WALL TILING
100 x 300 x 5mm Glazed ceramic tiles (PC R 220/m²) fixed with adhesive to plaster (plaster elsewhere) and flush pointed with tinted grout (white) (WA02)
10/1 | On walls | m2 | 231 |  | 0
10/2 | On walls in isolated panels, splashbacks, etc not exceeding 1m² | m2 |  |  | 0
100 x 400 x 5mm Coloured glazed ceramic tiles (PC R 220/m²) fixed with adhesive to backing (backing elsewhere measured) and flush pointed with tinted jointing compound (white) (WA03)
10/3 | On walls | m2 | 53 |  | 0
100 x 100 x 5mm Coloured glazed ceramic mosaic tiles (PC R 220/m²) fixed with adhesive to backing (backing elsewhere measured) and flush pointed with tinted jointing compound (WA04)
10/4 | On walls in pattern. | m2 | 0 |  | 0
10/4 | On walls placed in pattern amongst white wall tiles. | m2 | 3 |  | 0
100 x 200 x 5mm Coloured glazed ceramic mosaic tiles (PC R 220/m²) fixed with adhesive to backing (backing elsewhere measured) and flush pointed with tinted jointing compound (WA05)
10/5 | On walls in pattern. | m2 |  |  | 0
10/6 | On walls placed in pattern amongst white wall tiles. | m2 | 3 |  | 0
FLOOR TILING
600 x 600mm Matte porcelain floor tiles (Union in grey) fixed with adhesive to screed (screed elsewhere) and flush pointed with tinted acid-resistant grout (FF03 and SK04)
10/7 | On floors and landings | m2 | 43 |  | 0
10/8 | 150mm High cut tile skirting | m | 81 |  | 0
100 x 100 x 8mm Porcelain floor tiles (PC R 200/m²) fixed with adhesive to screed (screed elsewhere) and flush pointed with tinted grout
| Carried to Collection |  |  |  | 0
10/9 | On margins 100mm wide of stretcher course tiles. | m | 8 |  | 0
CORNER PROTECTORS AND EXPANSION JOINTS
10/10 | 9.5 x 6mm x 2.5mm "Genesis PVC Plus" white trim corner protector. | m | 0 |  | Rate Only
10/11 | 25 x 25 x 2.5mm "Genesis EPF250" stainless steel angle-trim. | m | 15 |  | 0
10/12 | 50 x 50 x 2.5mm "Genesis EAAS500" stainless steel exposed edge-protector. | m | 0 |  | 0
10/13 | 10 x 8mm x 2.5mm "Genesis" brass medium-duty movement joint. | m | 6 |  | 0
10/14 | 9mm PVC round edge trim | m | 15 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 10: Collection
Tiling
| Page 35 |  |  |  | 0
| Page 36 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Plumbing and Drainage
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 11
PLUMBING AND DRAINAGE
SANITARY FITTINGS
NOTE: Prices for sanitary fittings fixed to walls or abutting walls shall include for sealing against walls with silicone sealing compound. This shall apply to wash hand basins, sinks and drainers, urinals, WC cisterns, wash troughs, shower trays and the like.
---------------------------------
Stainless steel for economy basins, domestic sinks, worktops and wash troughs shall be type 430 (17/0).
Stainless steel for urinals, basins, quality sinks, wash troughs, institutional equipment, etc. shall be type 304 (18/8).
Stainless steel for laboratory sinks, photographic equipment, etc., shall be type 316 (18/8).
-------------------------------
Vaal, or equal approved, first grade commercial quality white glazed sanitary-ware
Crystal Coolers
11/1 | Industrial stainless steel drinking water fountain with high cooling power of 20l/h and direct connected 2 stage filter system. | No | 3 |  | 0
Franke stainless steel
11/2 | Sink and drainer 1200 x 500mm wide with two bowls (FKCDX621). | No | 3 |  | 0
Geberit, or equal approved, first grade commercial quality white glazed sanitary-ware
11/3 | Selnova wall hung rimfree toilet pan with seat (Code: GEB-500.335.01.1) WC, 530 x 355 x 340mm high, with Geberit Kombifix element, Gerberit brushed single flush stainless steel acutator plate and Sigma concealed cistern. | No | 4 |  | 0
11/4 | Selnova wall hung rimfree toilet pan with seat (Code: GEB-500.335.01.1) WC, 530 x 355 x 340mm high, with Geberit Kombifix element, Gerberit brushed single flush stainless steel acutator plate and Sigma concealed cistern (top surface of the seat 480mm above floor level). | No | 2 |  | 0
| Carried to Collection |  |  |  | 0
11/5 | 360 x 280mm Selnova wall hung wash hand basin (500.316.01.1) with one tap hole, including Cobra Amazon standard single lever basin mixer and Mikado low pressure tap spout aerator and angle regulating valve (832-10), 32 x 75mm slotted waste outlet, and 32mm bottle trap. | No | 8 |  | 0
11/6 | 500 x 420mm Selnova square wall hung wash hand basin (500.310.01.1) with one tap hole, including Cobra medical pillar (503-21B) and angle regulating valve(832-10), 32 x 75mm slotted waste outlet, and 32mm bottle trap. | No | 8 |  | 0
WASTE UNIONS, ETC.
11/7 | 90mm Franke sink basket strainer waste union (SKU 81426502). | No | 3 |  | 0
Floor drains
11/8 | Kessel Ecoguss project drain DN 50, vert., Variofix with slotted cover | No | 1 |  | 0
TAPS, VALVES, ETC.
Kwikot
11/9 | Kwikot Prisma Classique undercounter basin vented mixer. | No | 3 |  | 0
PIPING - WATER SUPPLY AND WASTE DISCHARGE
Waste
PVC pipes with, and including, butt-welded joints
11/10 | 50mm Diameter pipe chased into brick walls, including making good. | m | 9 |  | 0
11/11 | 50mm Diameter pipe suspended exceeding not exceeding 1m below soffit of reinforced concrete slab / steel truss tie-beam. | m | 30 |  | 0
Extra over PVC pipes for Mepla fittings
11/12 | 50mm Diameter pipe bend. | No | 30 |  | 0
11/13 | 50 - 50 - 50mm Diameter pipe tee. | No | 3 |  | 0
11/14 | 75 - 50mm Diameter pipe reducer. | No | 2 |  | 0
11/15 | 75mm Diameter pipe bend. | No | 3 |  | 0
11/16 | 75 - 75 - 50mm Diameter pipe reducing tee. | No | 1 |  | 0
| Carried to Collection |  |  |  | 0
11/17 | 110 - 110mm Diameter pipe bend. | No | 11 |  | 0
11/18 | 110 - 110 - 50mm Diameter pipe Y-junction. | No | 4 |  | 0
11/19 | 110 - 110 - 110mm Diameter pipe Y-junction. | No | 7 |  | 0
Cold Water Supply
PVC pipes with, and including, butt-welded joints
11/20 | 50mm Diameter pipe chased into brick walls, including making good. | m | 63 |  | 0
11/21 | 50mm Diameter pipe suspended exceeding not exceeding 1m below soffit of reinforced concrete slab / steel truss tie-beam. | m | 13 |  | 0
Extra over PVC pipes for Mepla fittings
11/22 | 15 - 15mm Diameter pipe elbow. | No | 47 |  | 0
11/23 | 15 - 15 - 15mm Diameter pipe tee. | No | 2 |  | 0
11/24 | 20 - 15mm Diameter pipe reducer. | No | 21 |  | 0
11/25 | 20mm Diameter pipe bend. | No | 7 |  | 0
11/26 | 20 - 20 - 15mm Diameter pipe reducing tee. | No | 4 |  | 0
11/27 | 25 - 15 - 15mm Diameter pipe reducing tee. | No | 1 |  | 0
11/28 | 25 - 20 - 15mm Diameter pipe reducing tee. | No | 1 |  | 0
11/29 | 25 - 25mm Diameter pipe elbow. | No | 1 |  | 0
11/30 | 25 - 25 - 15mm Diameter pipe reducing tee. | No | 6 |  | 0
11/31 | 25 - 25 - 20mm Diameter pipe reducing tee. | No | 1 |  | 0
11/32 | 32 - 25 - 25mm Diameter pipe reducing tee. | No | 1 |  | 0
11/33 | 25 - 25 - 25mm Diameter pipe tee. | No | 1 |  | 0
VALVES
11/34 | 32mm Diameter shut-off valve. | No | 1 |  | 0
11/35 | 25mm Diameter shut-off valve. | No | 3 |  | 0
11/36 | 15mm Diameter angle valve. | No | 20 |  | 0
11/37 | 15mm Diameter shut-off valve. | No | 0 |  | Rate Only
| Carried to Collection |  |  |  | 0
ELECTRIC WATER HEATERS
Kwikot Prisma "point-of-use" up to 700kPa undercounter units
11/38 | 5 Litre sink unit, including electrical cord with 230V 15Amp plug, mounting bracket, safety valve, sink mixer (PMX-74), CP stopcock (PST-76) and CP swivel spout (PSS-78). | No | 2 |  | 0
HOLES, ETC.
Core drilling of hole for pipe not exceeding 50mm diameter
11/39 | Through 200mm thick reinforced concrete slab, beam, wall, etc. | No | 5 |  | 0
Core drilling of hole for pipe exceeding 50mm and not exceeding 100mm diameter
11/40 | Through 200mm thick reinforced concrete slab, beam, wall, etc. | No | 2 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 11: Collection
Plumbing and Drainage
| Page 38 |  |  |  | 0
| Page 39 |  |  |  | 0
| Page 40 |  |  |  | 0
| Page 41 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Glazing
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 12
GLAZING
NOTE: Tenderers are required to study the Model Preambles for Trades before pricing the bills of quantities.
-----------------------------------
GLAZING TO ALUMINIUM WITH CLIP ON BEADS
20mm Sound insulating glass angled upwards, with argon gas cavity fill to manufacturer's specification
12/1 | Panes, 960 x 1 520 mm high, fitted to existing anodised aluminium casement. | No | 4 |  | 0
TOPS, SHELVES, DOORS, MIRRORS, ETC.
6mm Silvered float glass copper backed mirrors with polished edges holed for and fixed with chromium plated dome capped mirror screws with rubber buffers to plugs in brickwork or concrete
12/2 | Mirror 300 x 900mm high with domed screws. | No | 8 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 12: Collection
Glazing
| Page 43 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Paintwork
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 13
PAINTWORK
PAINTWORK, ETC, TO NEW WORK
ON FLOATED PLASTER
Prepare, one coat universal undercoat and two coats low sheen acrylic paint
13/1 | On internal walls. | m² | 100 |  | 0
Prepare, one coat universal undercoat and two coats low sheen acrylic latex paint
13/2 | On internal walls. | m² | 50 |  | 0
ON PLASTER BOARD
Prepare, one coat universal undercoat and two coats low sheen acrylic paint
13/3 | On partitions. | m² | 2655 |  | 0
13/4 | On ceilings. | m2 | 476 |  | 0
ON METAL
Prepare, one coat aluminium primer, one undercoat and two coats alkyd enamel paint in colours which have a value of 7 or less on the Munsell system in accordance with SABS 1091 on cast iron
13/5 | On door frames | m² | 18 |  | 0
ON WOOD
Prepare, wood primer and two coats polyurethane velvet enamel paint
13/6 | On doors. | m² | 57 |  | 0
PAINTWORK, ETC TO PREVIOUSLY PAINTED WORK
ON FLOATED PLASTER
Two coats "Velvaglo" enamel paint
13/7 | On walls | m2 | 2375 |  | 0
ON SMOOTH CONCRETE
Two coats "Velvaglo" enamel paint
| Carried to Collection |  |  |  | 0
13/8 | On ceilings and beams. | m² | 227 |  | 0
ON METAL
Prepare, one coat aluminium primer, one undercoat and ? coat/coats ? alkyd enamel paint in colours which have a value of 7 or less on the Munsell system in accordance with SABS 1091 on cast iron
13/9 | On door frames | m² | 40 |  | 0
13/10 | On rails, bars, pipes, ducts, etc. | m² | 50 |  | 0
13/11 | On rails, bars, pipes, ducts, etc. not exceeding 300 mm girth. | m | 150 |  | 0
ON WOOD
Prepare, wood primer and two coats polyurethane velvet enamel paint
13/12 | On doors. | m² | 96 |  | 0
13/13 | On skirtings. | m | 1177 |  | 0
| Carried to Collection |  |  |  | 0
Bill No. 13: Collection
Paintwork
| Page 45 |  |  |  | 0
| Page 46 |  |  |  | 0
| Carried to Summary |  |  |  | 0

## Provisional Sums
Item | Bill description | Unit | Bill quantity | Rate | Amount
Bill No. 14
PROVISIONAL SUMS (ALLOWANCES)
BUDGETARY ALLOWANCES
Builder's work
14/1 | Provide the sum of R 150 000.00 (One Hundred and Fifty Thousand Rand) for builders work related to subcontractors comprising fire stops, building in services, interface details | Item | 1 | 150000 | 150000
Ironmongery
14/2 | Provide the prime cost amount of R 150 000.00 (One Hundred and Fifty Thousand Rand) for supplying ironmongery | Item | 1 | 150000 | 150000
PROVISIONAL SUMS FOR SUBCONTRACT WORKS
Electrical installation
14/3 | Provide the sum of R 6 740 000.00 (Six Million Seven Hundred and Forty Thousand) for general electrical installation | Item | 1 | 6740000 | 6740000
14/4 | Fee | % |  | 6740000 | 0
Air conditioning installation
14/5 | Provide the sum of R 7 810 000 (Seven Million Eight Hundred and Ten Thousand) for air-conditioning and ventilation installation | Item | 1 | 7810000 | 7810000
14/6 | Fee | % |  | 7810000 | 0
Fire installation
14/7 | Provide the sum of R 2 050 000.00 (Two Million and Fifty Thousand) for fire installation | Item | 1 | 2050000 | 2050000
14/8 | Fee | % |  | 2050000 | 0
Data, Wi-fi and networking installation
14/9 | Provide the sum of R 2 240 000.00 (Two Million Two Hundred and Forty Thousand) for data cabling, Wi-fi and networking installation, etc. | Item | 1 | 2240000 | 2240000
14/10 | Fee | % |  | 2240000 | 0
Joinery Fittings
| Carried to Collection |  |  |  | 19140000
14/11 | Provide the sum of R 700 000.00 (Seven Hundred Thousand) for the supply and installation of new reception desk | Sum | 1 | 700000 | 700000
14/12 | Fee | % |  | 700000 | 0
14/13 | Provide the sum of R 200 000.00 (Two Hundred Thousand) for the supply and installation of new reception seating | Sum | 1 | 200000 | 200000
14/14 | Fee | % |  | 200000 | 0
14/15 | Provisional sum of R 85 000.00 (Eighty Five Thousand) for the supply and installation of built-in seating (14m long x 500mm wide curved on plan) | Sum | 1 | 85000 | 85000
14/16 | Fee | % |  | 85000 | 0
14/17 | Provisional sum of R 200 000.00 (Two Hundred Thousand) for the supply and installation of built-in display shelf with integrated seating (20m long x 500mm wide curved on plan) | Sum | 1 | 200000 | 200000
14/18 | Fee | % |  | 200000 | 0
14/19 | Provide the sum of R 75 000.00 (Seventy Five Thousand) for the supply and installation of new student kitchenette | Sum | 1 | 75000 | 75000
14/20 | Fee | % |  | 75000 | 0
14/21 | Provide the sum of R 75 000.00 (Seventy Five Thousand) for the supply and installation of new staff kitchenette | Sum | 1 | 75000 | 75000
14/22 | Fee | % |  | 75000
14/23 | Provide the sum of R 400 000.00 (Four Hundred Thousand Rand) for the supply and installation of 2 No timber features in new seating area | Sum | 1 | 400000 | 400000
14/24 | Fee | % |  | 400000 | 0
Signage
14/25 | Provide the sum of R 50 000 (Fifty Thousand Rand) for signage. | Item | 1 | 50000 | 50000
14/26 | Fee. | % |  | 50000 | 0
| Carried to Collection |  |  |  | 1785000
Bill No. 14: Collection
Provisional Sums
| Page 48 |  |  |  | 19140000
| Page 49 |  |  |  | 1785000
| Carried to Summary |  |  |  | 20925000