## HEALTH AND SAFETY
SCHEDULE OF QUANTITIES: HEALTH AND SAFETY
WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
BILLS OF QUANTITIES |  |  | SCHEDULE 1: HEALTH AND SAFETY
PAYMENT REFERS | ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
| 1.0 | HEALTH AND SAFETY
| 1.1 | Prepare a Health and Safety File including proof of registration and Good Standing with the compensation fund and submit to management | Sum | 1
|  | Total carried forward to summary 1 |  |  |  | 0

## INSPECTION
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION SYSTEMS
WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
All rates to be VAT Exclusive
BILL 2
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2 | Intial Inspection and reporting on existing installations
(Initial inspection for benchmarking and establishing immediate maintenance needs. Rate in this section to include inspection labour, travel and reporting related needs)
2.1 | ZP2 - VARIOUS CAMPUSES
2,1,1 | Fire detection panels - addressable type ZP2 | No. | 52
2,1,2 | Smoke detectors complete with bases | No. | 2323
2,1,4 | Heat detectors complete with bases | No. | 221
2,1,5 | Sounders and strobe lights | No. | 614
2,1,6 | Modules | No. | 97
2,1,7 | Manual call points | No. | 329
2,1,8 | Vesda system | No. | 7
2,1,9 | Wireless manual call points | No. | 17
2,1,10 | Wireless smoke detectors | No. | 109
2,1,11 | Wireless sounders | No. | 10
2,1,12 | Wireless strobe lights | No. | 19
2,1,13 | Back up batteries in the fire detection panel | No. | 118
2.2 | ZP3- VARIOUS CAMPUSES
Intial Inspection and reporting on existing installations
2,2,1 | Fire detection panels - addressable type ZP3 | No. | 84
2,2,2 | Smoke detectors complete with bases | No. | 7142
2,2,4 | Heat detectors complete with bases | No. | 642
2,2,5 | Sounders and strobe lights | No. | 2284
2,2,6 | Modules | No. | 555
2.27 | Manual call points | No. | 1210
2,2,8 | Vesda system | No. | 12
2,2,9 | Wireless manual call points | No. | 16
2,2,10 | Wireless smoke detectors | No. | 52
2,2,11 | Wireless sounders | No. | 12
2,2,12 | Wireless strobe lights | No. | 33
2,2,13 | Back up batteries in the fire detection panel | No. | 192
Carried Forward
Brought Forward
2.3 | CONVENTIONAL - VARIOUS CAMPUSES
Intial Inspection and reporting on existing installations
2,3,1 | Fire detection panels - Conventional type | No. | 47
2,3,2 | Smoke detectors complete with bases | No. | 554
2,3,3 | Heat detectors complete with bases | No. | 58
2,3,4 | Sounders | No. | 171
2,3,5 | Strobes | No. | 5
2,3,6 | Manual call points | No. | 137
2,3,7 | Beams | No. | 4
2,3,8 | Back up batteries in the fire detection panel | No. | 94
2.4 | GAS SUPPRESSION -VARIOUS CAMPUSES
Intial Inspection and reporting on existing installations
ARM Building Chamber of Mines
2,4,1 | Anechoic Chamber
| HFC 125 gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 28kg gas cylinder | No. | 1
2,4,2 | Convergence Lab
| HFC 227ea gas suppression system consisting of Technoswitch panel, 8 smoke detectors, 4 sounders, 30kg gas cylinder, 9kg gas cylinder and 25kg gas cylinder | No. | 1
Commerce Law Management
2,4,3 | 1st Floor UPS Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 35kg gas cylinder | No. | 1
2,4,4 | Ground floor server room
| FM200 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 159kg gas cylinder | No. | 1
PIMD Building
2,4,5 | Procurement Archive
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 35kg gas cylinder | No. | 1
2,4,6 | Services Archive
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 2-off 30kg gas cylinder | No. | 1
2,4,7 | Drawing Office
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders, 21kg gas cylinder and 2-off 34kg gas cylinders | No. | 1
TW Khambule
2,4,8 | Admin Server Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 21kg gas cylinder | No. | 1
Carried Forward
Brought Forward
2,4,9 | Server Room 1
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 48kg gas cylinder | No. | 1
2,4,10 | Server Room 2
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 36kg gas cylinder | No. | 1
FNB Building
2,4,11 | Server Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 13kg gas cylinder | No. | 1
Origins Center Rock Art
2,4,12 | Archive Room 1
| Pyroshield gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders, 92kg gas cylinder, 91.6kg gas cylinder and a 93.7kg gas cylinder | No. | 1
2,4,13 | AV Server Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 2-off 33kg gas cylinder | No. | 1
2,4,14 | Archive Room 2
| Pyroshield gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders, 92.4kg gas cylinder, 92.1kg gas cylinder and a 90.9kg gas cylinder | No. | 1
Solomon Mahlangu
2,4,15 | Legal Office 5th Floor
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 28kg gas cylinder | No. | 1
2,4,16 | Data Centre
| Inergen gas suppression system consisting of Ziton ZP3 panel, 91 smoke detectors, and 6 sounders | No. | 1
Bank 1 - consists of 4-off 16.3m3 cylinders
Bank 2 - consists of 8-off 16.3m3 cylinders
Bank 3 - consists of 5-off 16.3m3 cylinders
Bank 4 - consists of 5-off 16.3m3 cylinders
Bank 5 - consists of 5-off 16.3m3 cylinders
Bank 6 - consists of 5-off 16.3m3 cylinders
Bank 7 - consists of 3-off 16.3m3 cylinders
Bank 8 - consists of 3-off 16.3m3 cylinders
2,4,17 | Data Centre UPS Room 1
| Inergen gas suppression system consisting of Ziton ZP3 panel, 6 smoke detectors, 2 sounders and 3-off 16.3m3 cylinders | No. | 1
2,4,18 | Data Centre UPS Room 2
| Inergen gas suppression system consisting of Ziton ZP3 panel, 6 smoke detectors, 2 sounders and 3-off 16.3m3 cylinders | No. | 1
Carried Forward
Brought Forward
Physics Building
2,4,19 | Nanotechnology Transport Lab
| HFC 227ea gas suppression system consisting of Technoswitch panel, 6 smoke detectors, 2 sounders, 2-off 27kg gas cylinders and 3-off 23kg gas cylinders | No. | 1
2,4,20 | Oppenhiemer Life Sciences
Insect Archive 1
| CO2 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 6-off 75kg gas cylinders | No. | 1
2,4,21 | Insect Archive 2
| CO2 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 14-off 75kg gas cylinders | No. | 1
Geoscience Building
2,4,22 | Optically Stimulated Luminescence Lab
| HFC 125 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 80kg gas cylinder | No. | 1
Harold Holmes Library
2,4,23 | Basement Archive 1
| HFC 227ea gas suppression system consisting of Technoswitch, 2 Vesda, 2 sounders and 6-off 53kg gas cylinders | No. | 1
2,4,24 | Basement Archive 2
| HFC 227ea gas suppression system consisting of Technoswitch, 2 Vesda, 2 sounders and 4-off 62kg gas cylinders | No. | 1
2,4,25 | Basement Archive 3
| HFC 227ea gas suppression system consisting of Technoswitch, 2 Vesda, 2 sounders and 8-off 58kg gas cylinders | No. | 1
Medical School
2,4,26 | Server Room 1
| HFC 125 gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 10kg gas cylinder | No. | 1
2,4,27 | Server Room 2
| FM200 gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 6.5kg gas cylinder | No. | 1
2,4,28 | 2nd Floor Bone Archive
| HFC 227ea gas suppression system consisting of Technoswitch panel, 6 smoke detectors, 2 sounders and 9-off 23kg gas cylinders | No. | 1
Carried to final summary 2

## QUARTERLY SERVICING
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION SYSTEMS
WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND SUPPRESSION SYSTEMS
All rates to be VAT Exclusive
BILL 3
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3 | (Quarterly servicing as part of preventative maintenance.
Pricing in this section to comprise of all inclusive rates with the scope as specified and also factoring in any other specific manufacturer requirements. The callout fees, traveling, labour, consumables and any parts that may be required must be included in the rates provided.
3 | ZP2 - VARIOUS CAMPUSES
3.1 | Servicing existing fire detection systems components
after every 3 months (ZP2)
3,1,1 | Fire detection panels - addressable type ZP2 | No. | 208
3,1,2 | Smoke detectors complete with bases | No. | 9292
3,1,4 | Heat detectors complete with bases | No. | 884
3,1,5 | Sounders and strobe lights | No. | 2456
3,1,6 | Modules | No. | 388
3,1,7 | Manual call points | No. | 1316
3,1,8 | Vesda system | No. | 28
3,1,9 | Wireless manual call points | No. | 68
3,1,10 | Wireless smoke detectors | No. | 436
3,1,11 | Wireless sounders | No. | 40
3,1,12 | Wireless strobe lights | No. | 76
3,1,13 | Back up batteries in the fire detection panel | No. | 472
Log Books
3,1,14 | Logbook holder, logbook and operating instructions | Item | 1
3,1,15 | As Built drawings showing device numbers | Item | 1
3.2 | ZP3 Servicing existing fire detection systems components
after every 3 months (ZP3)
3,2,1 | Fire detection panels - addressable type ZP3 | No. | 336
3,2,2 | Smoke detectors complete with bases | No. | 28568
3,2,3 | Heat detectors complete with bases | No. | 2568
3,2,4 | Sounders and strobe lights | No. | 9136
3,2,5 | Modules | No. | 2220
3,2,6 | Manual call points | No. | 4842
3,2,7 | Vesda system | No. | 48
3,2,8 | Wireless manual call points | No. | 32
3,2,9 | Wireless smoke detectors | No. | 104
Carried Forward
Brought Forward
3,2,10 | Wireless sounders | No. | 28
3,2,11 | Wireless strobe lights | No. | 132
3,2,12 | Back up batteries in the fire detection panel | No. | 768
Log Books
3,2,13 | Logbook holder, logbook and operating instructions | Item | 1
3,2,14 | As Built drawings showing device numbers | Item | 1
3.3 | Conventional - Servicing existing fire detection systems components
after every 3 months
3,3,1 | Fire detection panels - Conventional type | No. | 188
3,3,2 | Smoke detectors complete with bases | No. | 2216
3,3,3 | Heat detectors complete with bases | No. | 323
3,3,4 | Sounders | No. | 684
3,3,5 | Strobes | No. | 28
3,3,6 | Manual call points | No. | 548
3,3,7 | Beams | No. | 16
3,3,8 | Back up batteries in the fire detection panel | No. | 376
Log Books
3,3,9 | Logbook holder, logbook and operating instructions | Item | 1
3,3,10 | As Built drawings showing device numbers | Item | 1
3.4 | Servicing existing fire detection systems components
after every 3 months (Gas Suppression Systems)
ARM Building Chamber of Mines
3,4,1 | Anechoic Chamber
| HFC 125 gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 28kg gas cylinder | No. | 4
3,4,2 | Convergence Lab
| HFC 227ea gas suppression system consisting of Technoswitch panel, 8 smoke detectors, 4 sounders, 30kg gas cylinder, 9kg gas cylinder and 25kg gas cylinder | No. | 4
Carried Forward
Brought Forward
Commerce Law Management
3,4,3 | 1st Floor UPS Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 35kg gas cylinder | No. | 4
3,4,4 | Ground floor server room
| FM200 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 159kg gas cylinder | No. | 4
PIMD Building
3,4,5 | Procurement Archive
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 35kg gas cylinder | No. | 4
3,4,6 | Services Archive
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 2-off 30kg gas cylinder | No. | 4
3,4,7 | Drawing Office
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders, 21kg gas cylinder and 2-off 34kg gas cylinders | No. | 4
TW Khambule
3,4,8 | Admin Server Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 21kg gas cylinder | No. | 4
3,4,9 | Server Room 1
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 48kg gas cylinder | No. | 4
3,4,10 | Server Room 2
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 36kg gas cylinder | No. | 4
FNB Building
3,4,11 | Server Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 13kg gas cylinder | No. | 4
Origins Center Rock Art
3,4,12 | Archive Room 1
| Pyroshield gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders, 92kg gas cylinder, 91.6kg gas cylinder and a 93.7kg gas cylinder | No. | 4
3,4,13 | AV Server Room
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 2-off 33kg gas cylinder | No. | 4
3,4,14 | Archive Room 2
| Pyroshield gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders, 92.4kg gas cylinder, 92.1kg gas cylinder and a 90.9kg gas cylinder | No. | 4
Carried Forward
Brought Forward
Solomon Mahlangu
3,4,15 | Legal Office 5th Floor
| HFC 227ea gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and a 28kg gas cylinder | No. | 4
3,4,16 | Data Centre
| Inergen gas suppression system consisting of Ziton ZP3 panel, 91 smoke detectors, and 6 sounders | No. | 4
Bank 1 - consists of 4-off 16.3m3 cylinders
Bank 2 - consists of 8-off 16.3m3 cylinders
Bank 3 - consists of 5-off 16.3m3 cylinders
Bank 4 - consists of 5-off 16.3m3 cylinders
Bank 5 - consists of 5-off 16.3m3 cylinders
Bank 6 - consists of 5-off 16.3m3 cylinders
Bank 7 - consists of 3-off 16.3m3 cylinders
Bank 8 - consists of 3-off 16.3m3 cylinders
3,4,17 | Data Centre UPS Room 1
| Inergen gas suppression system consisting of Ziton ZP3 panel, 6 smoke detectors, 2 sounders and 3-off 16.3m3 cylinders | No. | 4
3,4,18 | Data Centre UPS Room 2
| Inergen gas suppression system consisting of Ziton ZP3 panel, 6 smoke detectors, 2 sounders and 3-off 16.3m3 cylinders | No. | 4
Geoscience Building
3,4,19 | Optically Stimulated Luminescence Lab
| HFC 125 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 80kg gas cylinder | No. | 4
Physics Building
3,4,20 | Nanotechnology Transport Lab
| HFC 227ea gas suppression system consisting of Technoswitch panel, 6 smoke detectors, 2 sounders, 2-off 27kg gas cylinders and 3-off 23kg gas cylinders | No. | 4
Oppenhiemer Life Sciences
2,4,21 | Insect Archive 1
| CO2 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 6-off 75kg gas cylinders | No. | 4
3,4,21 | Insect Archive 2
| CO2 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 14-off 75kg gas cylinders | No. | 4
Geoscience Building
3,4,22 | Optically Stimulated Luminescence Lab
| HFC 125 gas suppression system consisting of Technoswitch panel, 4 smoke detectors, 2 sounders and 80kg gas cylinder | No. | 4
Harold Holmes Library
3,4,23 | Basement Archive 1
| HFC 227ea gas suppression system consisting of Technoswitch, 2 Vesda, 2 sounders and 6-off 53kg gas cylinders | No. | 4
| Carried Forward |  |  |  | 0
Brought Forward
3,4,24 | Basement Archive 2
| HFC 227ea gas suppression system consisting of Technoswitch, 2 Vesda, 2 sounders and 4-off 62kg gas cylinders | No. | 4
3,4,25 | Basement Archive 3
| HFC 227ea gas suppression system consisting of Technoswitch, 2 Vesda, 2 sounders and 8-off 58kg gas cylinders | No. | 4
Medical School
3,4,26 | Server Room 1
| HFC 125 gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 10kg gas cylinder | No. | 4
3,4,27 | Server Room 2
| FM200 gas suppression system consisting of Technoswitch panel, 2 smoke detectors, 2 sounders and 6.5kg gas cylinder | No. | 4
3,4,28 | 2nd Floor Bone Archive
| HFC 227ea gas suppression system consisting of Technoswitch panel, 6 smoke detectors, 2 sounders and 9-off 23kg gas cylinders | No. | 4
Log Books
3,4,29 | Logbook holder, logbook and operating instructions | Item | 1
3,4,30 | As Built drawings showing device numbers | Item | 1
Carried to final summary 3

## CORRECTIVE MAINTENANCE YR 1
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
WITS UNIVERSITY - WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
CALL OUT RATES (all rates to be VAT exclusive)
BILL 4 - YEAR 1
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4 | STAFF RATES
4.1 | Labour Rates
4.1.1 | Technician (Office Hours) | Hr | 1500
4.1.2 | Technician (After Hours) | Hr | 2500
4.1.3 | Assistant (Office Hours) | Hr | 1500
4.1.4 | Assistant (After Hours) | Hr | 2500
4.1.5 | Technician (Full time on site) | month | 12
4.2 | Call Outs (Including travelling)
4.2.1 | Call out - Office Hours | No. | 288
4.2.2 | Call out - After Hours | No. | 672
4.3 | Spares Mark Up (for evaluation R1000000)
4.3.1 | less than R20 000 | sum
4.3.2 | Contractor's Mark Up | % |  | 20000
4.3.3 | 20001 to R50000 | sum
4.3.4 | Contractor's Mark Up | % |  | 50000
4.3.5 | more than R50000 | sum
4.3.6 | Contractor's Mark Up | % |  | 830000
4.4 | Upgrading of Faulty Conventional Panels
4.4.1 | Supply, install and commission ZP3 Addressable Panel or
| similar. | No. | 20
Carried to final summary 4

## CORRECTIVE MAINTENANCE YR 2
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
WITS UNIVERSITY - WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
CALL OUT RATES (all rates to be VAT exclusive)
BILL 4a - YEAR 2
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4a | STAFF RATES
4a.1 | Corrective Maintenance
4a.1.1 | Technician (Office Hours) | Hr | 1500
4a.1.2 | Technician (After Hours) | Hr | 2500
4a.1.3 | Assistant (Office Hours) | Hr | 1500
4a.1.4 | Assistant (After Hours) | Hr | 2500
4a.1.5 | Technician (Full time on site) | month | 12
4a.2 | Call Outs (Including travelling)
4a.2.1 | Call out - Office Hours | No. | 288
4a.2.2 | Call out - After Hours | No. | 672
4a.3 | Spares Mark Up (for evaluation R1000000)
4a.3.1 | less than R20 000 | sum | - | -
4a.3.2 | Contractor's Mark Up | % | 0 | 20000
4a.3.3 | 20001 to R50000 | sum | - | -
4a.3.4 | Contractor's Mark Up | % | 0 | 50000
4a.3.5 | more than R50000 | sum | - | -
4a.3.6 | Contractor's Mark Up | % | 0 | 830000
4a.4 | Upgrading of Faulty Conventional Panels
4a.4.1 | Supply, install and commission ZP3 Addressable Panel or
| similar. | No. | 20 |  | 0
Carried to final summary 4a

## CORRECTIVE MAINTENANCE YR 3
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
WITS UNIVERSITY - WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
CALL OUT RATES (all rates to be VAT exclusive)
BILL 4b - YEAR 3
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4b | STAFF RATES
4b.1 | Corrective Maintenance
4b.1.1 | Technician (Office Hours) | Hr | 1500
4b.1.2 | Technician (After Hours) | Hr | 2500
4b.1.3 | Assistant (Office Hours) | Hr | 1500
4b.1.4 | Assistant (After Hours) | Hr | 2500
4b.1.5 | Technician (Full time on site) | month | 12
4b.2 | Call Outs (Including travelling)
4b.2.1 | Call out - Office Hours | No. | 288
4b.2.2 | Call out - After Hours | No. | 672
4b.3 | Spares Mark Up (for evaluation R1000000)
4b.3.1 | less than R20 000 | sum | - | -
4b.3.2 | Contractor's Mark Up | % |  | 20000
4b.3.3 | 20001 to R50000 | sum | - | -
4b.3.4 | Contractor's Mark Up | % |  | 50000
4b.3.5 | more than R50000 | sum | - | -
4b.3.6 | Contractor's Mark Up | % |  | 830000
4b.4 | Upgrading of Faulty Conventional Panels
4b.4.1 | Supply, install and commission ZP3 Addressable Panel or
| similar. | No. | 20 |  | 0
Carried to final summary 4b

## CORRECTIVE MAINTENANCE YR 4
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
WITS UNIVERSITY - WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
CALL OUT RATES (all rates to be VAT exclusive)
BILL 4c - YEAR 4
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4c | STAFF RATES
4c.1 | Corrective Maintenance
4c.1.1 | Technician (Office Hours) | Hr | 1500
4c.1.2 | Technician (After Hours) | Hr | 2500
4c.1.3 | Assistant (Office Hours) | Hr | 1500
4c.1.4 | Assistant (After Hours) | Hr | 2500
4c.1.5 | Technician (Full time on site) | month | 12
4c.2 | Call Outs (Including travelling)
4c.2.1 | Call out - Office Hours | No. | 288
4c.2.2 | Call out - After Hours | No. | 672
4c.3 | Spares Mark Up (for evaluation R1000000)
4c.3.1 | less than R20 000 | sum | - | -
4c.3.2 | Contractor's Mark Up | % |  | 20000
4c.3.3 | 20001 to R50000 | sum | - | -
4c.3.4 | Contractor's Mark Up | % |  | 50000
4c.3.5 | more than R50000 | sum | - | -
4c.3.6 | Contractor's Mark Up | % |  | 830000
4c.4 | Upgrading of Faulty Conventional Panels
4c.4.1 | Supply, install and commission ZP3 Addressable Panel or
| similar. | No. | 20 |  | 0
Carried to final summary 4c

## CORRECTIVE MAINTENANCE YR 5
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
WITS UNIVERSITY - WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
CALL OUT RATES (all rates to be VAT exclusive)
BILL 4d - YEAR 5
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4d | STAFF RATES
4d.1 | Corrective Maintenance
4d.1.1 | Technician (Office Hours) | Hr | 1500
4d.1.2 | Technician (After Hours) | Hr | 2500
4d.1.3 | Assistant (Office Hours) | Hr | 1500
4d.1.4 | Assistant (After Hours) | Hr | 2500
4d.1.5 | Technician (Full time on site) | month | 12
4d.2 | Call Outs (Including travelling)
4d.2.1 | Call out - Office Hours | No. | 288
4d.2.2 | Call out - After Hours | No. | 672
4d.3 | Spares Mark Up (for evaluation R1000000)
4d.3.1 | less than R20 000 | sum | - | -
4d.3.2 | Contractor's Mark Up | % |  | 20000
4d.3.3 | 20001 to R50000 | sum | - | -
4d.3.4 | Contractor's Mark Up | % |  | 50000
4d.3.5 | more than R50000 | sum | - | -
4d.3.6 | Contractor's Mark Up | % |  | 830000
4d.4 | Upgrading of Faulty Conventional Panels
4d.4.1 | Supply, install and commission ZP3 Addressable Panel or
| similar. | No. | 20 | 0 | 0
Carried to final summary 4d

## INTERFACE
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION SYSTEMS
WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
(Amount to be VAT Exclusive)
BILL 5
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
5 | FIRE DETECTION AND GAS SUPPRESSION SYSTEMS INTERFACE
5.1 | LINKING ALL PANELS TO CONTROL ROOM
| Provide a link/interface for all fire panels to the central control room. | Sum | 1
Carried to final summary 5

## INTEGRITY TEST
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION SYSTEMS
WITS UNIVERSITY - VARIOUS CAMPUSES - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS
(Amount to be VAT Exclusive)
6
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
6 | GAS SUPPRESSION SYSTEMS INTEGRITY TESTS
6.1 | INTEGRITY TESTS
| Carry out system integrity test for all rooms with gas suppression systems as per asset register | Sum | 1
Carried to final summary 6

## SUMMARY
SCHEDULE OF QUANTITIES: SERVICING AND REPAIR WORK OF FIRE DETECTION SYSTEM EQUIPMENT
WITS UNIVERSITY - FIRE DETECTION AND GAS SUPPRESSION SYSTEMS - FINAL COLLECTION PAGE
ITEM | DESCRIPTION | UNIT | QUANTITY | AMOUNT
1 | BILL 1:HEALTH and SAFETY COMPLIANCE ( Safety files) | Sum | 1
2 | BILL 2: INITIAL INSPECTION AND REPORTING | Sum | 1
3 | BILL 3: QUARTERLY SERVICE YEAR 1
| The bidder is to allow for subsequent escalations for subsequent years. The indicated amount shall be the total from the previous year PLUS the escalation amount. The indicated escalation percentage shall be applied as indicated for each amount when claiming. | Sum | 1
3a | Escalated total for item 3 above. Applicable for year 2 (fixed percentage for the duration of the contract) | Percentage | __________%
3b | Escalated total for item 3a above. Applicable for year 3(fixed percentage for the duration of the contract) | Percentage | __________%
3c | Escalated total for item 3b above. Applicable for year 4 (fixed percentage for the duration of the contract) | Percentage | __________%
3d | Escalated total for item 3c above. Applicable for year 5(fixed percentage for the duration of the contract) | Percentage | __________%
4 | Corrective Maintenance (Year 1) | Sum | 1
4.a | Corrective Maintenance (Year 2) | Sum | 1
4.b | Corrective Maintenance (Year 3) | Sum | 1
4.c | Corrective Maintenance (Year 4) | Sum | 1
4.d | Corrective Maintenance (Year 5) | Sum | 1
5 | BILL 5: INTERFACE | Sum | 1
6 | BILL 6: INTEGRITY TEST
|  | Sum | 1
TOTAL EXCLUDING VAT
ADD 15% VAT
TOTAL INCLUDING VAT