## 00 Summary
Section | Subtotal (ZAR)
01 Preliminaries
02 Strip-Out | 0
03 Builder's Work | 0
04 Electrical | 0
05 Lift Supply | 0
06 Installation | 0
07 Test & Commission | 0
08 Maintenance & Spares | 0
09 Provisional Sums | 0
Contingency (e.g., 10%) | 0
Sub-Total (excl. VAT)
VAT @ 15% | 0
Grand Total (incl. VAT) | 0
0

## Assumptions
Notes
GENERAL ASSUMPTIONS & INCLUSIONS
1. Quantities are provided as a template and shall be verified on site by the Contractor.
2. Tenderers shall include all items necessary for a complete and compliant installation whether or not specifically scheduled.
3. All works to comply with applicable legislation and standards in South Africa, including the Occupational Health and Safety Act and relevant lift safety standards (e.g., EN 81-20/50 as adopted locally), local fire codes, and municipal by-laws.
4. Shop drawings, method statements and lifting/rigging plans to be submitted for approval prior to works.
5. Contractor to coordinate outages with the Employer and occupants; protection of finishes is included.
6. Disposal/recycling of stripped equipment to be done responsibly; scrap credits to be indicated where applicable.
7. Allow for testing, commissioning, training, O&M manuals, and handover documentation.
8. Provisional Sums to be expended only upon written instruction by the Employer/Engineer.
9. Rates to be fully inclusive of labour, materials, plant, access equipment, fixing, testing and commissioning.
10. VAT is excluded in rates; shown separately in the Summary sheet.

## Equipment Schedule
Lift No. | Type | Capacity (kg) | Speed (m/s) | Stops | Travel (m) | Car Size (W x D x H mm) | Door Opening (mm) & Type | Door Clear Opening (mm) | Machine Room or MRL | Finishes | Power Supply (V/Ph/Hz) | Controller/Drive Make
Lift 1 | Gearless Traction MRL or MR
Lift 2 | Gearless Traction MRL or MR
Lift 3 | Gearless Traction MRL or MR
Lift 4 - GOODS | Gearless Traction MRL or MR

## 01 Preliminaries
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
P1 | Contractor’s preliminaries, overheads & profit | Sum | 1 |  | 0 | Includes management, supervision, small tools, consumables
P2 | Site establishment and de-establishment | Sum | 1 |  | 0 | Access, hoarding, signage, welfare, storage
P3 | Health & Safety (incl. Safety File, appointments, method statements, risk assessments) | Sum | 1 |  | 0 | In accordance with OHS Act and Construction Regs
P4 | Insurance (contract works, public liability, SASRIA) | Sum | 1 |  | 0
P5 | Programme, permits, lifting/rigging plans and traffic management (as required) | Sum | 1 |  | 0
P6 | Protection of existing finishes and tenant coordination | Sum | 1 |  | 0
P7 | As-built drawings, O&M manuals, certificates, spares, keys | Sum | 1 |  | 0 | 2 hard copies + editable soft copies
|  |  |  | SUBTOTAL: | 0

## 02 Strip-Out
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
S1 | Decommission existing lift – isolate power, secure hoistway, environmental compliance | No. | 4 |  | 0
S2 | Remove existing car, sling, counterweight, governor, buffers and machine(s) | No. | 4 |  | 0 | Inclusive of rigging and cranage
S3 | Remove existing controller, drive, wiring, travel cables and ancillary equipment | No. | 4 |  | 0
S4 | Remove existing guide rails and brackets | No. | 4 |  | 0 | If required; otherwise cut and reuse brackets where feasible
S5 | Remove landing doors, architraves, sills, LOPs and indicators | No. | 4 |  | 0
S6 | Make safe, cap services, clear debris; responsible disposal/recycling | Sum | 1 |  | 0
S7 | Salvage/credit for reusable scrap (if applicable) | Prov. Sum | 1 |  | 0 | To be scheduled as a credit item
|  |  |  | SUBTOTAL: | 0

## 03 Builder's Work
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
B1 | Shaft cleaning, plumb check, minor patching and making good | Sum | 1 |  | 0
B2 | Pit works: clean, repair, seal, paint; provide/upgrade pit ladder | No. | 4 |  | 0 | Per lift
B3 | Pit sump & pump (incl. float switch) or water alarms, if required | No. | 4 |  | 0 | Confirm site requirement
B4 | Fire-stopping to all shaft penetrations and door frames | Sum | 1 |  | 0
B5 | Sill infills, threshold levelling and making good floor finishes at landings | Sum | 1 |  | 0
B6 | Machine room/space structural steel or support brackets (if required) | Prov. Sum | 1 |  | 0
B7 | Ventilation and lighting upgrades to shaft/machine space | Prov. Sum | 1 |  | 0
|  |  |  | SUBTOTAL: | 0

## 04 Electrical
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
E1 | New mains supply and isolator(s) for each lift | No. | 4 |  | 0 | Rating to suit final design
E2 | Distribution board modifications/new lift DB including breakers and labelling | Sum | 1 |  | 0
E3 | Earthing/bonding and surge protection to SANS requirements | Sum | 1 |  | 0
E4 | Shaft and machine space lighting & convenience sockets | Sum | 1 |  | 0
E5 | Pit light, stop switch and GPO (per lift) | No. | 4 |  | 0
E6 | Fire alarm interface to lift controllers (Fireman’s return/phase 1 recall) | Sum | 1 |  | 0
E7 | Intercom/emergency phone and building comms integration | No. | 4 |  | 0 | SIM/PABX/IP as specified
E8 | Remote monitoring gateway and network point (optional) | No. | 4 |  | 0 | If specified by Employer
E9 | UPS / ARD supply (where not integral to lift) | No. | 4 |  | 0 | Optional/if required
|  |  |  | SUBTOTAL: | 0

## 05 Lift Supply
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
L1 | Passenger lift, gearless traction MR or MRL package complete – capacity [____] kg, speed [__] m/s, stops [__] | No. | 4 |  | 0 | Include car, sling, counterweight, machine, governor, buffers
L2 | Controller and VVVF drive complete with diagnostics | No. | 4 |  | 0
L3 | Guide rails and brackets (car and counterweight) including fixings | Set | 4 |  | 0
L4 | Automatic door operators (car and landings) with full-height light curtain | Set | 4 |  | 0
L5 | Landing doors & frames (all floors) with sills and architraves | Set | 4 |  | 0 | Finish: [stainless/painted]
L6 | Car operating panel(s) with braille/tactile, emergency comms, indicators | Set | 4 |  | 0
L7 | Hall landing operating panels, position indicators and gongs at all floors | Set | 4 |  | 0
L8 | Car interior finishes: wall panels, ceiling with LED lighting, floor, handrail | Set | 4 |  | 0 | Finish schedule to be confirmed
L9 | Load-weighing device with anti-nuisance control | No. | 4 |  | 0
L10 | Emergency Auto-Rescue Device (battery/rescue drive) | No. | 4 |  | 0
L11 | Traveling cables, shaft wiring and trunking complete | Set | 4 |  | 0
L12 | Signage, safety notices and key switches/keys | Set | 4 |  | 0
L13 | Energy meter per lift (optional) | No. | 4 |  | 0
L14 | Access control integration (optional) | Set | 4 |  | 0 | Reader type to be confirmed
|  |  |  | SUBTOTAL: | 0

## 06 Installation
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
I1 | Rigging, hoisting and installation of lift equipment | Set | 4 |  | 0
I2 | Alignment and fixing of rails, doors, machines and equipment | Set | 4 |  | 0
I3 | Wiring, terminations, programming and parameter setup | Set | 4 |  | 0
I4 | Interface commissioning with fire alarm and building systems | Sum | 1 |  | 0
|  |  |  | SUBTOTAL: | 0

## 07 Test & Commission
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
T1 | Testing and commissioning to applicable standards; issue test results | Set | 4 |  | 0
T2 | Load test with certified test weights | Set | 4 |  | 0
T3 | Independent statutory inspection and certification (AIA) | Sum | 1 |  | 0 | By Employer/allowance
T4 | Training of building staff and handover | Sum | 1 |  | 0
T5 | Snagging and defects rectification prior to practical completion | Sum | 1 |  | 0
|  |  |  | SUBTOTAL: | 0

## 08 Maintenance & Spares
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
M1 | Defects liability period – 12 months comprehensive maintenance | No. | 4 |  | 0 | Monthly planned maintenance, callouts excl. misuse
M2 | Spares kit (consumables and critical spares list) | Sum | 1 |  | 0
M3 | Extended maintenance option – year 2 (optional) | No. | 4 |  | 0
|  |  |  | SUBTOTAL: | 0

## 09 Provisional Sums
Item No. | Description | Unit | Qty | Rate (ZAR) | Amount (ZAR) | Remarks
PS1 | Builder’s work contingencies and unforeseen structural modifications | Prov. Sum | 1 |  | 0
PS2 | Electrical upgrades beyond scope (cable routes, MDB capacity, earthing) | Prov. Sum | 1 |  | 0
PS3 | Asbestos/lead/HAZMAT identification and safe removal (if encountered) | Prov. Sum | 1 |  | 0
PS4 | After-hours/weekend work allowance (if required) | Prov. Sum | 1 |  | 0
|  |  |  | SUBTOTAL: | 0