| Laboratory/ Facility name: |  |
| --- | --- |
| Location of laboratory/ facility |  |
| Date of facility/ laboratory survey | / / 20 _ (dd/mm/yyyy) |
| Laboratory/ Facility representative’s name and position (scientist, lab manager, pharmacist) |  |
| Agents used: |  |
| Biosafety level | - BSL 1 □ BSL 2 □ BSL 3 - Other (Specify: ) |

This document should be used in conjunction with Institutional OHS&E documents.

Although this pertains mainly to laboratories, this checklist can be utilized for other facilities in which biohazardous materials are handled, including pharmacies, clinics and animal holding facilities.

# Basic laboratory: Biosafety level 1: laboratory safety survey

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Laboratory |  |  |  |  |
| Proper signage: ultraviolet light, laser, radioactive material, etc |  |  |  |  |
| Appropriate biosafety guidelines available and followed |  |  |  |  |
| Laboratory equipment properly labelled (biohazardous, radioactive, toxic, etc.) |  |  |  |  |
| Signage on front entrance including contact names and details of at least TWO responsible persons |  |  |  |  |
| Signage at laboratory entrance detailing mandatory PPE required |  |  |  |  |
| Laboratory design |  |  |  |  |
| Designed for easy cleaning |  |  |  |  |
| Room ultraviolet lights on interlock switch |  |  |  |  |
| All shelves secured |  |  |  |  |
| Bench-tops waterproof and resistant to acids, alkali, organic solvents and heat |  |  |  |  |
| Adequate illumination provided |  |  |  |  |
| Adequate storage space available and appropriately used |  |  |  |  |
| Gas cylinders |  |  |  |  |
| All cylinders secured |  |  |  |  |
| Caps on reserve cylinders |  |  |  |  |
| Asphyxiating and hazardous gases only in ventilated rooms |  |  |  |  |

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Excess or empty cylinders present |  |  |  |  |
| Chemicals |  |  |  |  |
| Flammables stored in flammable storage cabinet |  |  |  |  |
| Peroxide formers double-dated (received and opened) |  |  |  |  |
| Chemicals properly segregated |  |  |  |  |
| Hazardous chemicals stored above eye level |  |  |  |  |
| Chemicals stored on the floor |  |  |  |  |
| Chemical containers left open |  |  |  |  |
| All solutions properly labelled |  |  |  |  |
| Mercury thermometers in use |  |  |  |  |
| Refrigerators/freezers/cold rooms |  |  |  |  |
| Food for human consumption present |  |  |  |  |
| Flammables in explosion-proof/-safe units |  |  |  |  |
| Labelled externally if containing carcinogens, radioactivity or biohazards |  |  |  |  |
| Cold-room has emergency release |  |  |  |  |
| Electrical equipment |  |  |  |  |
| Extension cords present |  |  |  |  |
| Outlets earthed/grounded and with proper polarity |  |  |  |  |
| Connections by sinks, under showers, etc. |  |  |  |  |
| Equipment with frayed or damaged Wiring |  |  |  |  |
| Overloaded outlets or electrical strips |  |  |  |  |
| Power strips mounted off the floor |  |  |  |  |
| Proper fuses in conduits |  |  |  |  |
| Electrical outlets near water sources meet local codes |  |  |  |  |
| Earths/grounds present on electrical cords |  |  |  |  |
| Portable space heaters |  |  |  |  |
| Personal protective equipment |  |  |  |  |
| Eyewash available in laboratory |  |  |  |  |
| Safety shower available |  |  |  |  |
| Personal protective equipment available (gloves, gowns, goggles, etc.) |  |  |  |  |
| Occupants properly attired |  |  |  |  |
| Laboratory coats, gowns, smocks, gloves and other personal protective clothing not worn outside the laboratory |  |  |  |  |
| Personal protective equipment available for cryogenic storage |  |  |  |  |

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Waste management |  |  |  |  |
| Evidence of improper waste disposal |  |  |  |  |
| Wastes segregated in proper containers |  |  |  |  |
| Chemical waste containers tagged, labelled, dated and kept closed |  |  |  |  |
| Chemical waste containers appropriately handled and stored |  |  |  |  |
| Sharps containers used and disposed of properly |  |  |  |  |
| No waste/ rubbish on floor |  |  |  |  |
| Waste disposal procedures posted in laboratory |  |  |  |  |
| Occupational health and safety programs available |  |  |  |  |
| Hazard communication |  |  |  |  |
| Respiratory protection |  |  |  |  |
| Hearing conservation |  |  |  |  |
| Formaldehyde monitoring |  |  |  |  |
| Ethylene oxide monitoring |  |  |  |  |
| Anaesthetic gas monitoring |  |  |  |  |
| General engineering controls |  |  |  |  |
| Laboratory airflow is negative to general occupancy, corridor and office areas |  |  |  |  |
| Cup sinks or drains acting as vents |  |  |  |  |
| Sink available for hand-washing |  |  |  |  |
| Exposed machine parts (pulleys, gears) |  |  |  |  |
| Vacuum line has filters and traps on laboratory benches |  |  |  |  |
| Backflow hazards to water supply |  |  |  |  |
| Distilled water systems in good condition |  |  |  |  |
| Active and effective arthropod and rodent control programme |  |  |  |  |
| General practices and procedures |  |  |  |  |
| Food for human consumption stored outside the laboratory |  |  |  |  |
| Microwave oven(s) clearly labelled “No Food Preparation, Laboratory Use Only” |  |  |  |  |
| Eating, drinking, smoking and/or applying of cosmetics occurring in the laboratory |  |  |  |  |
| Pressurized glass containers taped or shielded (i.e. vacuum traps) |  |  |  |  |
| Mouth pipetting prohibited |  |  |  |  |
| Mechanical pipetting devices available and used |  |  |  |  |
| Protective laboratory clothing stored separately from street clothing |  |  |  |  |

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| General laboratory housekeeping |  |  |  |  |
| Glass containers stored on the floor |  |  |  |  |
| Trip hazards evident |  |  |  |  |
| Clean absorbent pads on work surfaces |  |  |  |  |
| Broken glassware handled by mechanical means (brush and dustpan, tongs, etc.) |  |  |  |  |
| Fire protection |  |  |  |  |
| Sprinkler heads free and unobstructed |  |  |  |  |
| Open penetrations in walls, ceiling, floor, etc. |  |  |  |  |
| Wiring or tubing through door openings |  |  |  |  |
| Minimum passage width of 1 m in laboratory |  |  |  |  |
| Storage observed on ductwork or light fixtures |  |  |  |  |
| Excess combustibles stored in laboratory |  |  |  |  |
| Heated constant temperature baths |  |  |  |  |
| Equipped with low water level and overheat shutoff |  |  |  |  |
| Constructed of noncombustible materials |  |  |  |  |

Comments:

Applicant name and signature: 	_	Date: 	/	_/20 _

Laboratory/ Facility name:

# Basic laboratory: Biosafety level 2: laboratory safety survey

(to be used in conjunction with BSL1 laboratory safety survey form)

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Biological safety cabinet (BSC) |  |  |  |  |
| Location |  |  |  |  |
| Brand |  |  |  |  |
| Type |  |  |  |  |
| Serial number |  |  |  |  |
| Certification within last year |  |  |  |  |
| Service record checks |  |  |  |  |
| BSC surface wiped down with appropriate disinfectant at beginning and end of each procedure |  |  |  |  |
| Front grill and exhaust filter unobstructed |  |  |  |  |
| Open flames used inside cabinet |  |  |  |  |
| Vacuum lines have in-line filters and disinfectant traps in use |  |  |  |  |
| BSC compromised by room air or location |  |  |  |  |
| BSC used when there is potential for creating aerosols |  |  |  |  |
| Appropriate disposal of HEPA filters recorded |  |  |  |  |
| No glassware to be used in BSC |  |  |  |  |
| Autoclave |  |  |  |  |
| Location |  |  |  |  |
| Brand |  |  |  |  |
| Type |  |  |  |  |
| Serial number |  |  |  |  |
| Certification within last year |  |  |  |  |
| Service record checks |  |  |  |  |
| Autoclave appropriately cleaned with disinfectant at beginning and end of each procedure |  |  |  |  |
| Laboratory |  |  |  |  |
| Access limited and restricted to authorized personnel |  |  |  |  |
| Entry limited to personnel advised of all potential hazards |  |  |  |  |
| Biohazard sign posted on laboratory door as appropriate |  |  |  |  |
| Information on sign accurate and current |  |  |  |  |
| Sign legible and not defaced |  |  |  |  |
| All doors closed and lockable |  |  |  |  |

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Decontamination |  |  |  |  |
| Decontaminant specific to the organism(s) in use |  |  |  |  |
| All spills and accidents involving infectious materials reported to the laboratory supervisor |  |  |  |  |
| Appropriate decontaminant used during spill clean-ups |  |  |  |  |
| Work surfaces decontaminated before and after each procedure, daily and after spills |  |  |  |  |
| Handling of contaminated waste |  |  |  |  |
| Infectious waste containers properly used |  |  |  |  |
| Containers not overfilled |  |  |  |  |
| Containers properly labelled and closed |  |  |  |  |
| Culture stocks and other regulated waste properly decontaminated before disposal |  |  |  |  |
| Materials decontaminated outside the laboratory transported in closed, durable, leak-proof containers according to local rules and regulations |  |  |  |  |
| Mixed waste biologically decontaminated prior to disposal as chemical or radiological waste |  |  |  |  |
| Personal protection |  |  |  |  |
| Laboratory personnel reminded of appropriate immunizations/tests for agents handled |  |  |  |  |
| Appropriate medical services contacted for medical evaluations, surveillance and treatment of occupational exposures |  |  |  |  |
| Gloves worn when handling infectious material or contaminated equipment |  |  |  |  |
| Face protection provided when working outside the BSC with infectious material |  |  |  |  |
| Hands washed after removing gloves, after working with infectious agents, before leaving the laboratory |  |  |  |  |
| Antimicrobial agent available for immediate first aid |  |  |  |  |
| Vaccination records and baseline serum levels for laboratory personnel available where required (e.g. Rabies, Hepatitis B) |  |  |  |  |

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Practices |  |  |  |  |
| BSC used when potential for creating infectious aerosols/splashes exists |  |  |  |  |
| Biosafety manual prepared and adopted |  |  |  |  |
| Personnel read, review and follow the instructions on practices and procedures, including safety or operations manual (required for all personnel annually) |  |  |  |  |
| Procedures performed so as to minimize aerosols/splashes |  |  |  |  |
| Needle-locking syringes/ single-use needle-syringe units used with infectious agents |  |  |  |  |
| Centrifuge cups and rotors opened only in a BSC |  |  |  |  |
| Infectious specimens transported outside a BSC in approved containers following approved transport regulations |  |  |  |  |
| Facility |  |  |  |  |
| Hand-washing sink available near laboratory exit |  |  |  |  |

Comments:

IBC reviewer’s name and signature: 	_	Date: 	/	_/20 _

Laboratory/ Facility name:

# Basic laboratory: Biosafety level 3: laboratory safety survey

(to be used in conjunction with BSL1 and BSL2 laboratory safety survey form)

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Facility |  |  |  |  |
| Laboratory separated from unrestricted traffic flow in building |  |  |  |  |
| Access to laboratory through an anteroom with self-closing doors |  |  |  |  |
| All penetrations in laboratory sealed or sealable for decontamination |  |  |  |  |
| Room exhaust air single-pass and exhausted away from occupied areas |  |  |  |  |
| Controlled ventilation system to monitor directional airflow available |  |  |  |  |
| Equipment |  |  |  |  |
| Is all equipment used in BSL3 contained within BSL3 facility? |  |  |  |  |
| Personal protection |  |  |  |  |
| Closed-front gowns worn in laboratory |  |  |  |  |
| Protective laboratory clothing worn only in laboratory areas |  |  |  |  |
| Hand-washing sink: foot, elbow or automatically controlled |  |  |  |  |
| Hand protection |  |  |  |  |
| Double gloves worn when handling infectious material, potentially contaminated equipment and work surfaces |  |  |  |  |
| Respiratory protection |  |  |  |  |
| Respiratory protection worn by all personnel in the laboratory when aerosols are not safely contained in a BSC |  |  |  |  |
| Practices |  |  |  |  |
| Mucous membrane protection provided when working with infectious material outside a BSC |  |  |  |  |
| Personnel advised of special hazards associated with the agent(s) |  |  |  |  |
| Personnel required to read and follow all instructions on practices and procedures, including safety or operations manual |  |  |  |  |

| Checked item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Personnel receive annual updates/ additional training for procedural changes |  |  |  |  |
| All contaminated waste autoclaved prior to disposal |  |  |  |  |

Comments:

Applicant name and signature: 	_	Date: 	/	_/20 _